## Summary
SOC Consumption Report Summary of Feb 26
SheetTool
[13 empty] | Date | 2026-02-01
[13 empty] | Company Name | SOC
| SOC Electricity & DG |  |  | Unit |  | Order | Total Stock | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount
| Inside Meter | ELC Reading UPS Room | Electricity | 1078 | Bisleri_Consu | 0 | 20 | 12 | 8 | 1754.22 | 915.28 | 0
|  |  | HVAC | 7947.6 | Medical_Items | 22 | 119 | 7 | 112 | 494.32 | 3265.99 | 1879.08
|  | Reading AHU Room (Water Chiller) | BTU Reading | 42553.86 | Stationery | 81 | 1344 | 183 | 1181 | 4216 | 16182.1 | 4248
| OutSide Meter | Mantri Office Utility MSEB and DG Meter | Utility EB (KWH) | 6640 | HK Material | 1405 | 1984 | 795 | 1189 | 23747 | 51402.5 | 43843
|  |  | Utility DG (KWH) | 80 | Food Consu | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Utility EB (KVAH) | 6960 | Veebha Tea&Coffee | 0 | 164 | 8 | 156 | 1280 | 24960 | 0
|  |  | Utility DG (KVAH) | 0 | Sumant Tea&Coffee | 2062 | 3153 | 27 | 3126 | 4518.96 | 19120.56 | 12816.96
|  | Mantri Building Meter | (KWH) | 89894 | Toner Consu | 2 | 10 | 5 | 5 | 4400 | 6000 | 2400
|  |  | (KVAH) | 96612 | Water | 259 | 259 | 269 | 0 | 9415 | 0 | 9065
|  | A - Wing Chiller Panel | EB | 90.6578 | Gallent SG | NA | NA | NA | NA | 34721.8667 | 34721.8667 | 34721.8667
|  |  | DG | 278.9934 | OOPL SG | NA | NA | NA | NA | 88091.6667 | 88091.6667 | 88091.6667
[5 empty] | Imperial HK | NA | NA | NA | NA | 113108.1734 | 113108.1734 | 113108.1734
[5 empty] | Extra Bill | NA | NA | NA | NA | 0 | 0 | 0

## Extra Bills
Company Name | Expenses Type | BILL DATE | VENDOR NAME | Office No | BILL MONTH | BILL NO | BASIC VALUE | CGST | SGST | TOTAL
TOTAL | [6 empty] | 0 |  |  | 0

## Inside Meter
SOC Home Meter Reading Feb 26
|  | ELC Reading UPS Room | [7 empty] | Reading AHU Room (Water Chiller)
|  | Electricity |  |  | HVAC |  |  |  |  | BTU Reading
Auto | Auto |  |  | Auto |  |  | Auto | Auto | Auto |  |  | Auto
Date | Day | Opening | Closening | Cons | Opening | Closening | Cons | Date | Day | Opening | Closening | Cons
2026-01-31 | Sat | 284123 | 284161.5 | 38.5 | 1327218 | 1327526.1 | 308.1 | 2026-01-31 | Sat | 1425197.52 | 1425762.44 | 564.92
2026-02-01 | Sun | 284161.5 | 284212.1 | 50.6 | 1327526.1 | 1327821.7 | 295.6 | 2026-02-01 | Sun | 1425762.44 | 1425844.34 | 81.9
2026-02-02 | Mon | 284212.1 | 284273.1 | 61 | 1327821.7 | 1328331.1 | 509.4 | 2026-02-02 | Mon | 1425844.34 | 1430437.49 | 4593.15
2026-02-03 | Tue | 284273.1 | 284352.7 | 79.6 | 1328331.1 | 1328873.6 | 542.5 | 2026-02-03 | Tue | 1430437.49 | 1433787.13 | 3349.64
2026-02-04 | Wed | 284352.7 | 284414.6 | 61.9 | 1328873.6 | 1329398.2 | 524.6 | 2026-02-04 | Wed | 1433787.13 | 1436046.32 | 2259.19
2026-02-05 | Thu | 284414.6 | 284490.6 | 76 | 1329398.2 | 1329947.3 | 549.1 | 2026-02-05 | Thu | 1436046.32 | 1436576.25 | 529.93
2026-02-06 | Fri | 284490.6 | 284544.1 | 53.5 | 1329947.3 | 1330433.6 | 486.3 | 2026-02-06 | Fri | 1436576.25 | 1437899.23 | 1322.98
2026-02-07 | Sat | 284544.1 | 284598.4 | 54.3 | 1330433.6 | 1330752.6 | 319 | 2026-02-07 | Sat | 1437899.23 | 1438070.81 | 171.58
2026-02-08 | Sun | 284598.4 | 284631.5 | 33.1 | 1330752.6 | 1330971.8 | 219.2 | 2026-02-08 | Sun | 1438070.81 | 1438130.8 | 59.99
2026-02-09 | Mon | 284631.5 | 284712.5 | 81 | 1330971.8 | 1331525.3 | 553.5 | 2026-02-09 | Mon | 1438130.8 | 1444832.14 | 6701.34
2026-02-10 | Tue | 284712.5 | 284776.1 | 63.6 | 1331525.3 | 1332065.3 | 540 | 2026-02-10 | Tue | 1444832.14 | 1449574.97 | 4742.83
2026-02-11 | Wed | 284776.1 | 284852 | 75.9 | 1332065.3 | 1332629.3 | 564 | 2026-02-11 | Wed | 1449574.97 | 1454891.16 | 5316.19
2026-02-12 | Thu | 284852 | 284922.5 | 70.5 | 1332629.3 | 1333201.2 | 571.9 | 2026-02-12 | Thu | 1454891.16 | 1458490.3 | 3599.14
2026-02-13 | Fri | 284922.5 | 284991 | 68.5 | 1333201.2 | 1333741.3 | 540.1 | 2026-02-13 | Fri | 1458490.3 | 1460190.42 | 1700.12
2026-02-14 | Sat | 284991 | 285032.7 | 41.7 | 1333741.3 | 1334045.7 | 304.4 | 2026-02-14 | Sat | 1460190.42 | 1460240.51 | 50.09
2026-02-15 | Sun | 285032.7 | 285081.1 | 48.4 | 1334045.7 | 1334342 | 296.3 | 2026-02-15 | Sun | 1460240.51 | 1460293.69 | 53.18
2026-02-16 | Mon | 285081.1 | 285160.5 | 79.4 | 1334342 | 1334918.5 | 576.5 | 2026-02-16 | Mon | 1460293.69 | 1464270.64 | 3976.95
2026-02-17 | Tue | 285160.5 | 285239.5 | 79 | 1334918.5 | 1335473.7 | 555.2 | 2026-02-17 | Tue | 1464270.64 | 1468316.3 | 4045.66
2026-02-18 | Wed | 285239.5 |  | -285239.5 | 1335473.7 |  | -1335473.7 | 2026-02-18 | Wed | 1468316.3 |  | -1468316.3
2026-02-19 | Thu | 0 |  | 0 | 0 |  | 0 | 2026-02-19 | Thu | 0 |  | 0
2026-02-20 | Fri | 0 |  | 0 | 0 |  | 0 | 2026-02-20 | Fri | 0 |  | 0
2026-02-21 | Sat | 0 |  | 0 | 0 |  | 0 | 2026-02-21 | Sat | 0 |  | 0
2026-02-22 | Sun | 0 |  | 0 | 0 |  | 0 | 2026-02-22 | Sun | 0 |  | 0
2026-02-23 | Mon | 0 |  | 0 | 0 |  | 0 | 2026-02-23 | Mon | 0 |  | 0
2026-02-24 | Tue | 0 |  | 0 | 0 |  | 0 | 2026-02-24 | Tue | 0 |  | 0
2026-02-25 | Wed | 0 |  | 0 | 0 |  | 0 | 2026-02-25 | Wed | 0 |  | 0
2026-02-26 | Thu | 0 |  | 0 | 0 |  | 0 | 2026-02-26 | Thu | 0 |  | 0
2026-02-27 | Fri | 0 |  | 0 | 0 |  | 0 | 2026-02-27 | Fri | 0 |  | 0
2026-02-28 | Sat | 0 |  | 0 | 0 |  | 0 | 2026-02-28 | Sat | 0 |  | 0
2026-03-01 | Sun | 0 |  | 0 | 0 |  | 0 | 2026-03-01 | Sun | 0 |  | 0
2026-03-02 | Mon | 0 |  | 0 | 0 |  | 0 | 2026-03-02 | Mon | 0 |  | 0
2026-03-03 | Tue | 0 |  | 0 | 0 |  | 0 | 2026-03-03 | Tue | 0 |  | 0
TOTAL |  |  |  | 1078 |  |  | 7947.6 |  |  |  |  | 42553.86
Formulas:
Auto = [Auto, row below]-1
Auto = [Auto, row above]+1

## OutSide Meter
SOC MSEDCL Office Utility MSEB and DG Meter Reading Feb 26 | [8 empty] | SOC MSEDCL Office Utility MSEB and DG Meter Reading Feb 26 | [8 empty] | SOC Building Meter Reading Feb 26 | [6 empty] | A - Wing Chiller Panel Feb 26
| Utility EB (KWH) |  |  |  | Utility DG (KWH) |  |  |  |  | Utility EB (KVAH) |  |  |  | Utility DG (KVAH) |  |  |  | Date | (KWH) |  |  | (KVAH) |  |  |  | EB |  |  | DG
Auto |  |  |  | Auto |  |  |  | Auto | Auto |  |  |  | Auto |  |  |  | Auto | Auto |  |  | Auto |  |  | Auto | Auto |  |  | Auto |  |  | Auto
Date | Opening | Closening | MF | MWH Cons | Opening | Closening | MF | MWH Cons | Date | Opening | Closening | MF | MWH Cons | Opening | Closening | MF | MWH Cons |  | Opening | Closening | MWH Cons | Opening | Closening | MWH Cons | Date | Opening | Closening | MWH Cons | Opening | Closening | MWH Cons
2026-01-31 | 4689 | 4694 | 40 | 200 | 14 | 16 | 40 | 80 | 2026-01-31 | 4819 | 4824 | 40 | 200 | 15 | 16 | 0 | 0 | 2026-01-31 | 73097 | 73415 | 318 | 78880 | 79212 | 332 | 2026-01-31 | 2542.9686 | 2545.819 | 2.8504 | 2107.74 | 2382.7286 | 274.9886
2026-02-01 | 4694 | 4699 | 40 | 200 | 16 | 16 | 40 | 0 | 2026-02-01 | 4824 | 4829 | 40 | 200 | 16 | 16 | 0 | 0 | 2026-02-01 | 73415 | 73671 | 256 | 79212 | 79480 | 268 | 2026-02-01 | 2545.819 | 2548.097 | 2.278 | 2382.7286 | 2382.7286 | 0
2026-02-02 | 4699 | 4705 | 40 | 240 | 16 | 16 | 40 | 0 | 2026-02-02 | 4829 | 4835 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-02 | 73671 | 73999 | 328 | 79480 | 79822 | 342 | 2026-02-02 | 2548.097 | 2551.982 | 3.885 | 2382.7286 | 2382.7286 | 0
2026-02-03 | 4705 | 4710 | 40 | 200 | 16 | 16 | 40 | 0 | 2026-02-03 | 4835 | 4841 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-03 | 73999 | 74288 | 289 | 79822 | 80140 | 318 | 2026-02-03 | 2551.982 | 2555.409 | 3.427 | 2382.7286 | 2382.7286 | 0
2026-02-04 | 4710 | 4713 | 40 | 120 | 16 | 16 | 40 | 0 | 2026-02-04 | 4841 | 4845 | 40 | 160 | 16 | 16 | 0 | 0 | 2026-02-04 | 74288 | 74683 | 395 | 80140 | 80559 | 419 | 2026-02-04 | 2555.409 | 2557.4954 | 2.0864 | 2382.7286 | 2382.7286 | 0
2026-02-05 | 4713 | 4720 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-05 | 4845 | 4851 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-05 | 74683 | 75102 | 419 | 80559 | 81010 | 451 | 2026-02-05 | 2557.4954 | 2561.111 | 3.6156 | 2382.7286 | 2382.7286 | 0
2026-02-06 | 4720 | 4728 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-06 | 4851 | 4859 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-06 | 75102 | 75526 | 424 | 81010 | 81466 | 456 | 2026-02-06 | 2561.111 | 2564.7158 | 3.6048 | 2382.7286 | 2382.7286 | 0
2026-02-07 | 4728 | 4735 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-07 | 4859 | 4866 | 40 | 280 | 16 | 16 | 0 | 0 | 2026-02-07 | 75526 | 75948 | 422 | 81466 | 82351 | 885 | 2026-02-07 | 2564.7158 | 2568.4182 | 3.7024 | 2382.7286 | 2382.7286 | 0
2026-02-08 | 4735 | 4743 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-08 | 4866 | 4875 | 40 | 360 | 16 | 16 | 0 | 0 | 2026-02-08 | 75948 | 76779 | 831 | 82351 | 82784 | 433 | 2026-02-08 | 2568.4182 | 2572.03 | 3.6118 | 2382.7286 | 2382.7286 | 0
2026-02-09 | 4743 | 4750 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-09 | 4875 | 4883 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-09 | 76779 | 77087 | 308 | 82784 | 83133 | 349 | 2026-02-09 | 2572.03 | 2575.6252 | 3.5952 | 2382.7286 | 2382.7286 | 0
2026-02-10 | 4750 | 4756 | 40 | 240 | 16 | 16 | 40 | 0 | 2026-02-10 | 4883 | 4889 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-10 | 77087 | 77298 | 211 | 83133 | 83316 | 183 | 2026-02-10 | 2575.6252 | 2577.9838 | 2.3586 | 2382.7286 | 2382.7286 | 0
2026-02-11 | 4756 | 4759 | 40 | 120 | 16 | 16 | 40 | 0 | 2026-02-11 | 4889 | 4892 | 40 | 120 | 16 | 16 | 0 | 0 | 2026-02-11 | 77298 | 77720 | 422 | 83316 | 83759 | 443 | 2026-02-11 | 2577.9838 | 2579.9116 | 1.9278 | 2382.7286 | 2382.7286 | 0
2026-02-12 | 4759 | 4765 | 40 | 240 | 16 | 16 | 40 | 0 | 2026-02-12 | 4892 | 4898 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-12 | 77720 | 78171 | 451 | 83759 | 84232 | 473 | 2026-02-12 | 2579.9116 | 2583.906 | 3.9944 | 2382.7286 | 2382.7286 | 0
2026-02-13 | 4765 | 4773 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-13 | 4898 | 4908 | 40 | 400 | 16 | 16 | 0 | 0 | 2026-02-13 | 78171 | 78635 | 464 | 84232 | 84722 | 490 | 2026-02-13 | 2583.906 | 2588.1932 | 4.2872 | 2382.7286 | 2382.7286 | 0
2026-02-14 | 4773 | 4781 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-14 | 4908 | 4917 | 40 | 360 | 16 | 16 | 0 | 0 | 2026-02-14 | 78635 | 78948 | 313 | 84722 | 85048 | 326 | 2026-02-14 | 2588.1932 | 2592.6836 | 4.4904 | 2382.7286 | 2382.7286 | 0
2026-02-15 | 4781 | 4788 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-15 | 4917 | 4922 | 40 | 200 | 16 | 16 | 0 | 0 | 2026-02-15 | 78948 | 79397 | 449 | 85048 | 85516 | 468 | 2026-02-15 | 2592.6836 | 2595.7468 | 3.0632 | 2382.7286 | 2382.7286 | 0
2026-02-16 | 4788 | 4796 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-16 | 4922 | 4930 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-16 | 79397 | 79816 | 419 | 85516 | 85967 | 451 | 2026-02-16 | 2595.7468 | 2600.2302 | 4.4834 | 2382.7286 | 2382.7286 | 0
2026-02-17 | 4796 | 4801 | 40 | 200 | 16 | 16 | 40 | 0 | 2026-02-17 | 4930 | 4935 | 40 | 200 | 16 | 16 | 0 | 0 | 2026-02-17 | 79816 |  | -79816 | 85967 |  | -85967 | 2026-02-17 | 2600.2302 | 2603.7626 | 3.5324 | 2382.7286 | 2382.7286 | 0
2026-02-18 | 4801 | 4804 | 40 | 120 | 16 | 16 | 40 | 0 | 2026-02-18 | 4935 | 4940 | 40 | 200 | 16 | 16 | 0 | 0 | 2026-02-18 | 0 | 80092 | 80092 | 0 | 86285 | 86285 | 2026-02-18 | 2603.7626 | 2606.125 | 2.3624 | 2382.7286 | 2382.7286 | 0
2026-02-19 | 4804 | 4811 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-19 | 4940 | 4947 | 40 | 280 | 16 | 16 | 0 | 0 | 2026-02-19 | 80092 | 80532 | 440 | 86285 | 86711 | 426 | 2026-02-19 | 2606.125 | 2610.2896 | 4.1646 | 2382.7286 | 2382.7286 | 0
2026-02-20 | 4811 | 4819 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-20 | 4947 | 4955 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-20 | 80532 | 80990 | 458 | 86711 | 87196 | 485 | 2026-02-20 | 2610.2896 | 2614.6504 | 4.3608 | 2382.7286 | 2382.7286 | 0
2026-02-21 | 4819 | 4826 | 40 | 280 | 16 | 16 | 40 | 0 | 2026-02-21 | 4955 | 4963 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-21 | 80990 | 81443 | 453 | 87196 | 87686 | 490 | 2026-02-21 | 2614.6504 | 2618.82 | 4.1696 | 2382.7286 | 2382.7286 | 0
2026-02-22 | 4826 | 4834 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-22 | 4963 | 4971 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-22 | 81443 | 81888 | 445 | 87686 | 88164 | 478 | 2026-02-22 | 2618.82 | 2622.95 | 4.13 | 2382.7286 | 2382.7286 | 0
2026-02-23 | 4834 | 4842 | 40 | 320 | 16 | 16 | 40 | 0 | 2026-02-23 | 4971 | 4979 | 40 | 320 | 16 | 16 | 0 | 0 | 2026-02-23 | 81888 | 82313 | 425 | 88164 | 88619 | 455 | 2026-02-23 | 2622.95 | 2626.6646 | 3.7146 | 2382.7286 | 2382.7286 | 0
2026-02-24 | 4842 | 4847 | 40 | 200 | 16 | 16 | 40 | 0 | 2026-02-24 | 4979 | 4984 | 40 | 200 | 16 | 16 | 0 | 0 | 2026-02-24 | 82313 | 82640 | 327 | 88619 | 88972 | 353 | 2026-02-24 | 2626.6646 | 2629.2758 | 2.6112 | 2382.7286 | 2386.7334 | 4.0048
2026-02-25 | 4847 | 4850 | 40 | 120 | 16 | 16 | 40 | 0 | 2026-02-25 | 4984 | 4987 | 40 | 120 | 16 | 16 | 0 | 0 | 2026-02-25 | 82640 | 82891 | 251 | 88972 | 89225 | 253 | 2026-02-25 | 2629.2758 | 2631.3432 | 2.0674 | 2386.7334 | 2386.7334 | 0
2026-02-26 | 4850 | 4855 | 40 | 200 | 16 | 16 | 40 | 0 | 2026-02-26 | 4987 | 4993 | 40 | 240 | 16 | 16 | 0 | 0 | 2026-02-26 | 82891 | 83175 | 284 | 89225 | 89525 | 300 | 2026-02-26 | 2631.3432 | 2633.6264 | 2.2832 | 2386.7334 | 2386.7334 | 0
2026-02-27 | 4855 |  | 40 | -194200 | 16 |  | 40 | -640 | 2026-02-27 | 4993 |  | 40 | -199720 | 16 |  | 0 | 0 | 2026-02-27 | 83175 |  | -83175 | 89525 |  | -89525 | 2026-02-27 | 2633.6264 |  | -2633.6264 | 2386.7334 |  | -2386.7334
2026-02-28 | 0 |  | 40 | 0 | 0 |  | 40 | 0 | 2026-02-28 | 0 |  | 40 | 0 | 0 |  | 0 | 0 | 2026-02-28 | 0 |  | 0 | 0 |  | 0 | 2026-02-28 | 0 |  | 0 | 0 |  | 0
2026-03-01 | 0 |  | 40 | 0 | 0 |  | 40 | 0 | 2026-03-01 | 0 |  | 40 | 0 | 0 |  | 0 | 0 | 2026-03-01 | 0 |  | 0 | 0 |  | 0 | 2026-03-01 | 0 |  | 0 | 0 |  | 0
2026-03-02 | 0 |  | 40 | 0 | 0 |  | 40 | 0 | 2026-03-02 | 0 |  | 40 | 0 | 0 |  | 0 | 0 | 2026-03-02 | 0 |  | 0 | 0 |  | 0 | 2026-03-02 | 0 |  | 0 | 0 |  | 0
2026-03-03 | 0 |  | 40 | 0 | 0 |  | 40 | 0 | 2026-03-03 | 0 |  | 40 | 0 | 0 |  | 0 | 0 | 2026-03-03 | 0 |  | 0 | 0 |  | 0 | 2026-03-03 | 0 |  | 0 | 0 |  | 0
TOTAL |  |  |  | 6640 |  |  |  | 80 |  |  |  |  | 6960 |  |  |  | 0 |  |  |  | 89894 |  |  | 96612 |  |  |  | 90.6578 |  |  | 278.9934
Formulas:
Auto = [Auto, row below]-1
Auto = [Auto, row above]+1
Date = [Date, row below]-1
Date = [Date, row above]+1

## Bisleri_Consu
SOC Bisleri Material Consumption for the Month of Feb 26
[12 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Brand | Units | Rate | Opening | Order | Office Order 1 | Office Order 2 | Other Sources | Remark | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST
1 | Bisleri | Bottle | Bisleri | 500ML | 152.54 | 10 | [5 empty] | 10 | [31 empty] | 10 | 0 | 1525.4 | 0 | 0 | 9 | 9 | 0 | bar: 2026-02-02 to 2026-02-03; 2026-02-05 to 2026-02-06; 2026-02-09 to 2026-02-13; 2026-02-16
2 | Bisleri | Bottle | Bisleri | 250 ML | 114.41 | 10 | [5 empty] | 10 | [31 empty] | 2 | 8 | 228.82 | 915.28 | 0 |  |  | 0 | bar: 2026-02-02; 2026-02-13
3 | [11 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
|  | Total |  |  |  | 20 | 0 |  |  |  |  | 20 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12 | 8 | 1754.22 | 915.28 | 0 | 9 | 9 | 0

## Medical_Items
SOC Medical Material Consumption for the Month of Feb 26
[12 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Brand | Units | Rate | Opening | Order | Office Order 1 | Office Order 2 | Other Sources | Remark | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST
1 |  | Volini Spray | Volini | Nos | 220 | 3 | 6 |  |  |  |  | 9 | [31 empty] | 2 | 7 | 440 | 1540 | 1320 | 9 | 9 | 1557.6 | bar: 2026-02-04; 2026-02-10
2 |  | Cipladine Cream |  | Nos | 52.71 | 1 | 1 |  |  |  |  | 2 | [31 empty] | 0 | 2 | 0 | 105.42 | 52.71 | 9 | 9 | 62.1978
3 |  | Cipladine Powder |  | Nos | 90 | 2 | [5 empty] | 2 | [31 empty] | 0 | 2 | 0 | 180 | 0 | 9 | 9 | 0
4 |  | Soframycin Cream |  | Nos | 55.77 | 0 | 1 |  |  |  |  | 1 | [31 empty] | 0 | 1 | 0 | 55.77 | 55.77 | 9 | 9 | 65.8086
5 |  | Betnovate Cream |  | Nos | 23.3 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
6 |  | Volini Gel | Volini | Nos | 76 | 3 | [5 empty] | 3 | [31 empty] | 0 | 3 | 0 | 228 | 0 | 9 | 9 | 0
7 |  | ORS Powder 20gm |  | PKT | 22.66 | 22 | 10 |  |  |  |  | 32 | [31 empty] | 2 | 30 | 45.32 | 679.8 | 226.6 | 9 | 9 | 267.388 | bar: 2026-02-04; 2026-02-10
8 |  | Cotton absorbent big |  | Roll | 15 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
9 |  | Cotton absorbent Small |  | Nos | 15 | 2 | [5 empty] | 2 | [31 empty] | 0 | 2 | 0 | 30 | 0 | 9 | 9 | 0
10 |  | Cotton Roll |  | Roll |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
11 |  | Glucon-D (Glucose) |  | Nos | 56 | 2 | 4 |  |  |  |  | 6 | [31 empty] | 0 | 6 | 0 | 336 | 224 | 9 | 9 | 264.32
12 |  | Seser |  | Nos |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
13 |  | Fixation Tape |  | Nos | 91 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
14 |  | Gauze Bandage Small |  | Nos |  | 10 | [5 empty] | 10 | [31 empty] | 0 | 10 | 0 | 0 | 0 | 9 | 9 | 0
15 |  | Whisper choice |  | Pkt |  | 3 | [5 empty] | 3 | [31 empty] | 0 | 3 | 0 | 0 | 0 | 9 | 9 | 0
16 |  | Hansaplast Spot (Round) |  | Nos | 2 | 24 | [5 empty] | 24 | [31 empty] | 0 | 24 | 0 | 48 | 0 | 9 | 9 | 0
17 |  | Hansaplast Bandage |  | Nos | 3 | 24 | [5 empty] | 24 | 2026-02-05: 3 | 3 | 21 | 9 | 63 | 0 | 9 | 9 | 0
18 |  | Dettol Small |  | Nos |  | 1 | [5 empty] | 1 | [31 empty] | 0 | 1 | 0 | 0 | 0 | 9 | 9 | 0
[6 empty] | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
[6 empty] | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
[6 empty] | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
|  | Total |  |  |  | 97 | 22 |  |  |  |  | 119 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7 | 112 | 494.32 | 3265.99 | 1879.08 | 180 | 180 | 2217.3144

## Stationery
SOC Stationary Material Consumption for the Month of Feb 26
[7 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Particulars | Brand | Units | Rate | Opening | Order | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST | ACTUAL STOCK
1 | Spring File | Rajal/Vagad | Nos. | 12 | 10 |  | 10 | [31 empty] | 0 | 10 | 0 | 120 | 0 |  |  | 0
2 | White Envelop A4 Size | Jemine | Nos. | 3.5 | 25 |  | 25 | [31 empty] | 0 | 25 | 0 | 87.5 | 0 |  |  | 0
3 | Box File | Rajal/Vagad | Nos. | 62 | 13 |  | 13 | 2026-02-04: 2; 2026-02-13: 2 | 4 | 9 | 248 | 558 | 0 |  |  | 0
4 | Writing Pad No. 1 | Vedant | Nos. | 20 | 11 | 10 | 21 | 2026-02-02: 1; 2026-02-09: 3; 2026-02-13: 1 | 5 | 16 | 100 | 320 | 200 |  |  | 200
5 | Conference Pad | Vedant | Nos. | 6.5 | 16 |  | 16 | [31 empty] | 0 | 16 | 0 | 104 | 0 |  |  | 0
6 | Cheque Envelops | Jemine | Nos. | 1.25 | 16 |  | 16 | [31 empty] | 0 | 16 | 0 | 20 | 0 |  |  | 0
7 | Cello Tape 1" | Wonder | Nos. | 12 | 8 | 5 | 13 | [31 empty] | 1 | 12 | 12 | 144 | 60 |  |  | 60 | bar: 2026-02-10
8 | Cello Tape 2" | Wonder | Nos. | 24 | 4 | 5 | 9 | 2026-02-02: 2; 2026-02-10: 1 | 3 | 6 | 72 | 144 | 120 |  |  | 120
9 | Calculator |  | Nos. |  | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 0 | 0
10 | Natraj Ball Pen | Natraj | Nos. | 2.9 | 33 | 20 | 53 | 2026-02-02: 5; 2026-02-04: 3; 2026-02-09: 3 | 11 | 42 | 31.9 | 121.8 | 58 |  |  | 58
11 | Foam tape new brand | Wonder | Nos. | 35 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 105 | 0 |  |  | 0
12 | File Tag | Local Brand | Pkt | 80 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
13 | White Board Markar Blue | Camlin | Nos. | 21 | 19 |  | 19 | [31 empty] | 0 | 19 | 0 | 399 | 0 |  |  | 0
14 | White Board Markar Black | Camlin | Nos. | 21 | 20 |  | 20 | [31 empty] | 0 | 20 | 0 | 420 | 0 |  |  | 0
15 | White Board Markar Red | Camlin | Nos. | 21 | 10 |  | 10 | [31 empty] | 0 | 10 | 0 | 210 | 0 |  |  | 0
16 | Paint Marker | Camlin | Nos. | 60 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
17 | Permanent Marker | Camlin | Nos. | 17.5 | 6 |  | 6 | [31 empty] | 1 | 5 | 17.5 | 87.5 | 0 |  |  | 0 | bar: 2026-02-02
18 | Stapler No. 10 | Kangaro | Nos. | 38 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 152 | 0 |  |  | 0
19 | Staplar Pin Small | Kangaro | Box | 120 | 26 |  | 26 | [31 empty] | 0 | 26 | 0 | 3120 | 0 |  |  | 0
20 | Glue Stic 8 gms | Camlin | Nos. | 18 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 54 | 0 |  |  | 0
21 | White Board Duster | Prime | Nos. | 45 | 10 |  | 10 | [31 empty] | 0 | 10 | 0 | 450 | 0 |  |  | 0
22 | "U"Clip 26 mm | Luxury | Box | 10 | 6 |  | 6 | [31 empty] | 0 | 6 | 0 | 60 | 0 |  |  | 0
23 | "V"Clip | Luxury | Box | 9 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
24 | Sharpener | Natraj | Nos. | 2.8 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 5.6 | 0 |  |  | 0
25 | Eraser | Natraj | Nos. | 2.8 | 6 |  | 6 | 2026-02-02: 2 | 2 | 4 | 5.6 | 11.2 | 0 |  |  | 0
26 | Sketch Pen | Pikpens | Pkt | 22 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 22 | 0 |  |  | 0
27 | Post it Pad 3*3 | Past it | Nos. | 28 | 10 |  | 10 | [31 empty] | 1 | 9 | 28 | 252 | 0 |  |  | 0 | bar: 2026-02-04
28 | Binder Clip Big 32 mm | Gorilla/Music | Box. | 35 | 15 |  | 15 | [31 empty] | 1 | 14 | 35 | 490 | 0 |  |  | 0 | bar: 2026-02-16
29 | Binder Clip 19 mm | Gorilla/Music | Nos. | 20 | 2 |  | 2 | [31 empty] | 1 | 1 | 20 | 20 | 0 |  |  | 0 | bar: 2026-02-16
30 | Liuon Pins | Lion/Leo | Box | 18 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 72 | 0 |  |  | 0
31 | Push Pin | Luxury | Box | 35 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 70 | 0 |  |  | 0
32 | Stamp Pad Blue | Camlin | Nos. | 38 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 114 | 0 |  |  | 0
33 | Cutter Big | Gorilla/Music | Nos. | 18 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 18 | 0 |  |  | 0
34 | Red Adhesive Tape Double Side | Local Brand | Nos. | 360 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
35 | Fevicol Bottle Small | Pidilite | Nos. | 29 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 58 | 0 |  |  | 0
36 | Stamp Ink | Camlin | Bottle | 28 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 56 | 0 |  |  | 0
37 | Stapler Pin Big | Kangaro | Box | 16 | 11 |  | 11 | [31 empty] | 0 | 11 | 0 | 176 | 0 |  |  | 0
38 | Plastics Folder "L" | Music | Nos. | 6.5 | 33 |  | 33 | [31 empty] | 2 | 31 | 13 | 201.5 | 0 |  |  | 0 | bar: 2026-02-13 to 2026-02-14
39 | Register Book Big 3 Quire | Vedant | Nos. | 90 | 0 | 5 | 5 | [31 empty] | 0 | 5 | 0 | 450 | 450 |  |  | 450
40 | Register Book Small 2 Quire | Vedant | Nos. | 60 | 2 | 5 | 7 | [31 empty] | 3 | 4 | 180 | 240 | 300 |  |  | 300 | bar: 2026-02-02 to 2026-02-03; 2026-02-17
41 | ID Card Holder | Music | Nos. | 5.5 | 12 |  | 12 | 2026-02-09: 2; 2026-02-16: 10 | 12 | 0 | 66 | 0 | 0 |  |  | 0
42 | Cheque Book Plastic Folder | Local Brand | Nos. | 28 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
43 | Correction Pen Metal Point | Camlin | Nos. | 28 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 56 | 0 |  |  | 0
44 | Pencil (Natraj/ Apsara) | Apsara | Box | 36 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 36 | 0 |  |  | 0
45 | A4 Size Cloth Green Envelope | Pidilite | Bottle | 9 | 23 |  | 23 | 2026-02-16: 10 | 10 | 13 | 90 | 117 | 0 |  |  | 0
46 | Scissor (Small) | Gorilla/Music | Nos. | 32 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 32 | 0 |  |  | 0
47 | Fevi Kwik 0.5 gms | Pidilite | Nos. | 4.5 | 6 |  | 6 | [31 empty] | 0 | 6 | 0 | 27 | 0 |  |  | 0
48 | Temporary ID Card | Local Brand | Nos. | 1.5 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
49 | Highlighter Pen | Camlin | Nos. | 18 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 90 | 0 |  |  | 0
50 | Magnetic Button | Music | Nos. | 70 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 70 | 0 |  |  | 0
51 | Cmos Battery | Intex | Nos. | 15 | 6 |  | 6 | [31 empty] | 0 | 6 | 0 | 90 | 0 |  |  | 0
52 | A/4 Image Copier Paper | Andhara/Century | Box | 230 | 5 | 10 | 15 | 2026-02-02: 4; 2026-02-05: 3; 2026-02-06: 1; 2026-02-08: 1; 2026-02-12: 2; 2026-02-13: 1 | 12 | 3 | 2760 | 690 | 2300 |  |  | 2300
53 | Pen Stand Round | Music | Nos. | 45 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 90 | 0 |  |  | 0
54 | Button Folder (Cloth Patti) | Local Brand | Nos. | 45 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 180 | 0 |  |  | 0
55 | Brown Tape | Wonder | Nos. | 24 | 5 |  | 5 | [31 empty] | 1 | 4 | 24 | 96 | 0 |  |  | 0 | bar: 2026-02-10
56 | Sticker Labelbig size | Mark | pkt | 110 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 110 | 0 |  |  | 0
57 | Patti File | Local Brand | Nos. | 25 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
58 | Nippo Battery -AA | Nippo | Nos. | 10.5 | 8 |  | 8 | [31 empty] | 0 | 8 | 0 | 84 | 0 |  |  | 0
59 | Nippo Battery -AAA | Nippo | Nos. | 10.5 | 20 |  | 20 | [31 empty] | 0 | 20 | 0 | 210 | 0 |  |  | 0
60 | 9 V Battery | HW | Nos. | 45 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 225 | 0 |  |  | 0
61 | Notice Bord Pin | Local Brand | Nos. | 45 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
62 | CD Marker Pen | Camlin | Nos. | 9 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 36 | 0 |  |  | 0
63 | Piani file | Local Brand | Nos. | 240 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
64 | Ball Pen Black Writometer | Camlin/Kores | Box | 30 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
65 | White Board 2*3 | Local Brand | Nos. | 600 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
66 | Ball Pen with stand | Moserbaer | Nos. | 45 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
67 | Radium Sunboard | Local Brand | Nos. | 200 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
68 | Kangaro Stapler HP 45 | Citizen | Nos. | 245 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
69 | Cable Tag 150 mm | Local Brand | Pkts. | 75 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 225 | 0 |  |  | 0
70 | Temporary ID Cover | Local Brand | Nos. | 1.5 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
71 | Temporary Lanyard | Local Brand | Nos. | 4.5 | 43 |  | 43 | [31 empty] | 0 | 43 | 0 | 193.5 | 0 |  |  | 0
72 | Stainless Steel Scale 12 " | Ajanta | Nos. | 17 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 51 | 0 |  |  | 0
73 | Rubber Stamp Stand | Local Brand | Nos. | 550 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
74 | XEROX | Andhara/Century | Nos. | 0.9 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
75 | Duro Cell AA | Local Brand | Pkt | 38 | 3 | 20 | 23 | [31 empty] | 0 | 23 | 0 | 874 | 760 |  |  | 760
76 | Duro Cell AAA | Duro | Nos. | 38 | 19 |  | 19 | [31 empty] | 0 | 19 | 0 | 722 | 0 |  |  | 0
77 | Marker Tie 100 mm | Andhara/Century | Pic | 150 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
78 | Masking Tape 1" | Pidilite | Bottle | 35 | 4 |  | 4 | [31 empty] | 1 | 3 | 35 | 105 | 0 |  |  | 0 | bar: 2026-02-02
79 | Paper try 4in1 | Local Brand | Nos. | 800 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
80 | Plastic Envelope Folder | Local Brand | Nos. | 28 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
81 | Punch Folder | Local Brand | Nos. | 5.5 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 27.5 | 0 |  |  | 0
82 | Id Card Printing | Local Brand | Nos. | 20 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
83 | Sprial Pad No 90 | Local Brand | Nos. | 95 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
84 | A4Executive Bond Paper 100gsm | Local Brand | Nos. | 380 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
85 | Masking Tape 2" | Local Brand | Nos. | 35 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 175 | 0 |  |  | 0
86 | File separator | Local Brand | PKT | 55 | 2 |  | 2 | [31 empty] | 1 | 1 | 55 | 55 | 0 |  |  | 0 | bar: 2026-02-04
87 | Stapler Big HP- 45 | Kangaro | Nos. | 245 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
88 | Camllin Cd Marker Pen | Local Brand | Pkt | 15 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
89 | Id Card Cover Double | Local Brand | Nos. | 5.5 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
90 | Good Night Refill | Local Brand | Nos. | 72 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 216 | 0 |  |  | 0
91 | Oreva Spikeguard 4mtr | Oreva | Nos. | 450 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
92 | A/4 Photo Frame | Local Brand | Nos. | 180 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
93 | Post it Pad 3 x 3- 3 colour | Past it | Nos. | 35 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 70 | 0 |  |  | 0
94 | Green Envelope A3 Size | Local Brand | Nos. | 6.5 | 61 |  | 61 | [31 empty] | 2 | 59 | 13 | 383.5 | 0 |  |  | 0 | bar: 2026-02-05; 2026-02-10
95 | Green Envelope Small Size | Local Brand | Nos. | 6.5 | 42 |  | 42 | [31 empty] | 0 | 42 | 0 | 273 | 0 |  |  | 0
96 | Ball Pen | Local Brand | Nos. | 10 | 4 |  | 4 | [31 empty] | 1 | 3 | 10 | 30 | 0 |  |  | 0 | bar: 2026-02-02
97 | Blinder Clip 25mm | Bosch | Nos. | 35 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
98 | Cable Tag 150 mm big | Local Brand | Nos. | 75 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
99 | Sticker Label | Local Brand | Nos. | 110 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
100 | Sudarshan Dairy 100 pages | Local Brand | Nos. | 150 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
101 | Sheet Protector A4 (100) | Local Brand | Nos. | 3.5 | 169 |  | 169 | [31 empty] | 0 | 169 | 0 | 591.5 | 0 |  |  | 0
102 | Sheet Protector A4 (240) | Local Brand | Nos. | 3.5 | 139 |  | 139 | 2026-02-05: 50 | 50 | 89 | 175 | 311.5 | 0
103 | Sheet Protector FC Legal (240) | Local Brand | Nos. | 4.5 | 207 |  | 207 | 2026-02-05: 50 | 50 | 157 | 225 | 706.5 | 0 |  |  | 0
104 | Kangaro pin | Local Brand | Nos. | 7 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
105 | Scissor (Big) | Local Brand | Nos. | 35 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
106 | Measure Tape 5 Mtr Freeman | Local Brand | Nos. | 125 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
107 | Visiting Card Printing | Local Brand | Nos. | 4.5 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
108 | First Aid Box | Local Brand | Nos. | 490 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
109 | Xdbs Black Lanyard | Local Brand | Nos. |  | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 0 | 0 |  |  | 0
110 | Xdbs Black Manager Lanyard | Local Brand | Nos. |  | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 0 | 0 |  |  | 0
111 | XDBS Red Lanyard | Local Brand | Nos. |  | 8 |  | 8 | 2026-02-09: 2; 2026-02-13: 1 | 3 | 5 | 0 | 0 | 0 |  |  | 0
112 | Ondirect RED Lanyard | Local Brand | Nos. |  | 22 |  | 22 | [31 empty] | 3 | 19 | 0 | 0 | 0 |  |  | 0 | bar: 2026-02-05 to 2026-02-06; 2026-02-13
113 | Ondirect Grey Lanyard | Local Brand | Nos. |  | 10 |  | 10 | [31 empty] | 1 | 9 | 0 | 0 | 0 |  |  | 0 | bar: 2026-02-04
114 | Ondirect Black Lanyard | Local Brand | Nos. |  | 47 |  | 47 | [31 empty] | 0 | 47 | 0 | 0 | 0 |  |  | 0
115 | Underrated Lanyard | Local Brand | Nos. |  | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 0 | 0 |  |  | 0
116 | Legal Paper Rim | Local Brand | Pkt. |  | 0 | 1 | 1 | [31 empty] | 1 | 0 | 0 | 0 | 0 |  |  | 0 | bar: 2026-02-05
117 | Plastic Keychain | Local Brand | Nos. |  | 20 |  | 20 | [31 empty] | 0 | 20 | 0 | 0 | 0 |  |  | 0
| Total |  |  |  | 1263 | 81 | 1344 | 0 | 18 | 1 | 8 | 106 | 2 | 0 | 1 | 10 | 4 | 0 | 2 | 7 | 1 | 0 | 22 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 183 | 1181 | 4216 | 16182.1 | 4248 | 0 | 0 | 4248 | 0
9
0
Note on U57: Shahebaz Rashid Khan: Kings restaurant

## HK Material
SOC House Keeping Material Consumption of Feb 26
[8 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Brand | Units | Rate | Opening | Order | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST | ACTUAL STOCK
1 | Maple Solution | Handwash | 5ltr | Nos. | 350 | 1 | 1 | 2 | [31 empty] | 1 | 1 | 350 | 350 | 350 |  |  | 350 | bar: 2026-02-08
2 | Maple Solution | Dish Wash Liquid | Vim | Nos.(500 ml) | 90 | 3 | 2 | 5 | [31 empty] | 1 | 4 | 90 | 360 | 180 |  |  | 180 | bar: 2026-02-02
3 | Maple Solution | Vim Bar | vim | Nos. | 18 | 3 |  | 3 | [31 empty] | 1 | 2 | 18 | 36 | 0 |  |  | 0 | bar: 2026-02-16
4 | Maple Solution | Nirama Powder | Wheel | Kg. | 65 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 195 | 0 |  |  | 0
5 | Maple Solution | Scrub Pad | Local Brand | Nos. | 9 | 7 |  | 7 | [31 empty] | 1 | 6 | 9 | 54 | 0 |  |  | 0 | bar: 2026-02-05
6 | Maple Solution | Garbage Bag (19*21) | A1 | Pkt -30 NOS | 40 | 22 |  | 22 | [31 empty] | 2 | 20 | 80 | 800 | 0 |  |  | 0 | bar: 2026-02-05; 2026-02-18
7 | Maple Solution | Garbage Bag Big | Citi Clean | Pkt -10 NOS | 70 | 10 | 10 | 20 | [31 empty] | 5 | 15 | 350 | 1050 | 700 |  |  | 700 | bar: 2026-02-03 to 2026-02-04; 2026-02-07; 2026-02-09; 2026-02-17
8 | Maple Solution | Yellow Duster | Local Brand | Pcs. | 17 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 51 | 0 |  |  | 0
9 | Maple Solution | Checks Duster | Local Brand | Pcs. | 11 | 6 |  | 6 | [31 empty] | 0 | 6 | 0 | 66 | 0 |  |  | 0
10 | Maple Solution | Glass Duster | Local Brand | Pcs. | 12 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 48 | 0 |  |  | 0
11 | Maple Solution | Dish Cleaner Duster | Scotch | Pcs. | 40 | 8 |  | 8 | [31 empty] | 0 | 8 | 0 | 320 | 0 |  |  | 0
12 | Maple Solution | Wiper (Glass) Steel | Local Brand | Pcs. | 240 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 240 | 0 |  |  | 0
13 | Maple Solution | Soft Broom | Music | Nos. | 85 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
14 | Maple Solution | Collin | Collin | Nos. | 72 | 0 | 4 | 4 | [31 empty] | 1 | 3 | 72 | 216 | 288 |  |  | 288 | bar: 2026-02-16
15 | Maple Solution | Wet Mop Refill Cotton | Taj | Nos. | 85 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 170 | 0 |  |  | 0
16 | Maple Solution | Dry Mop Refill | Taj | Nos. | 85 | 12 |  | 12 | [31 empty] | 0 | 12 | 0 | 1020 | 0 |  |  | 0
17 | Maple Solution | R6 | Taski | Can (5 Ltr.) | 640 | 1 | 1 | 2 | [31 empty] | 0 | 2 | 0 | 1280 | 640 |  |  | 640
18 | Maple Solution | R2 | Taski | Can (5 Ltr.) | 780 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 1560 | 0 |  |  | 0
19 | Maple Solution | Premier Facial Tissue | Premier | Box | 62 | 8 | 25 | 33 | 2026-02-02: 4; 2026-02-10: 4; 2026-02-16: 1 | 9 | 24 | 558 | 1488 | 1550 |  |  | 1550
20 | Maple Solution | Hand Tissue | Prince | Pkt | 24 | 14 | 30 | 44 | 2026-02-02: 3; 2026-02-03: 1; 2026-02-05: 2; 2026-02-06: 1; 2026-02-09: 2; 2026-02-10: 4; 2026-02-13: 1; 2026-02-16: 3 | 17 | 27 | 408 | 648 | 720 |  |  | 720
21 | Maple Solution | Carpet Brush | Local Brand | Nos. | 65 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 195 | 0 |  |  | 0
22 | Maple Solution | Hard Broom | Local Brand | Nos. | 35 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
23 | Maple Solution | Hand Gloves Red | Himalya | Nos. | 40 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
24 | Maple Solution | Red Hit Spary | Hit | Nos. | 215 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 430 | 0 |  |  | 0
25 | Maple Solution | Hand Gloves blue | Local Brand | Set | 40 | 12 |  | 12 | [31 empty] | 0 | 12 | 0 | 480 | 0 |  |  | 0
26 | Maple Solution | Dust Pan | Balaji | Nos. | 30 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 150 | 0 |  |  | 0
27 | Maple Solution | T - Brush Set | Local Brand | Nos. | 145 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 145 | 0 |  |  | 0
28 | Maple Solution | Big Dust Bin - 80 Lit | Balaji | Nos. | 950 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
29 | Maple Solution | Chock Up Pump | Local Brand | Nos. | 45 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 180 | 0 |  |  | 0
30 | Maple Solution | Godrej Air Freshner Bottle | Local Brand | Nos. | 140 | 4 |  | 4 | [31 empty] | 1 | 3 | 140 | 420 | 0 |  |  | 0 | bar: 2026-02-16
31 | Maple Solution | Room Freshner | Odonil | Nos. | 102 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 204 | 0 |  |  | 0
32 | Maple Solution | Combi Glass Wiper | Local Brand | Nos. | 350 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 350 | 0 |  |  | 0
33 | Maple Solution | R5 | Taski | Can | 900 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 900 | 0 |  |  | 0
34 | Maple Solution | R3 | Taski | Can | 1450 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
35 | Maple Solution | R1 | Taski | Can | 980 | 2 |  | 2 | [31 empty] | 0 | 2 | 0 | 1960 | 0 |  |  | 0
36 | Maple Solution | Bottle Brush | Local Brand | Nos. | 30 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 150 | 0 |  |  | 0
37 | Maple Solution | Wet Mop Set | Local Brand | Nos. | 225 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
38 | Maple Solution | Dry Mop Set | Taj | Nos. | 265 | 2 |  | 2 | [31 empty] | 1 | 1 | 265 | 265 | 0 |  |  | 0 | bar: 2026-02-02
39 | Maple Solution | Mosquito Bat | Balaji | Pkt | 195 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
40 | Maple Solution | Dettol Hand Wash | Dettol | Nos | 175 | 0 | 1 | 1 | [31 empty] | 0 | 1 | 0 | 175 | 175 |  |  | 175
41 | Maple Solution | Dust Bin Small | Balaji | Nos. | 32 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
42 | Maple Solution | Water Bottle | G Pet | Nos. | 30 | 2 | 6 | 8 | [31 empty] | 2 | 6 | 60 | 180 | 180 |  |  | 180 | bar: 2026-02-02; 2026-02-08
43 | Maple Solution | Scrapper | Local Brand | Nos. | 14 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
44 | Maple Solution | Paper Cup 150 ml | Pooja | Pkt | 55 | 177 | 300 | 477 | 2026-02-02: 9; 2026-02-03: 13; 2026-02-04: 10; 2026-02-05: 11; 2026-02-06: 13; 2026-02-07: 6; 2026-02-09: 9; 2026-02-10: 10; 2026-02-11: 7; 2026-02-12: 10; 2026-02-13: 12; 2026-02-16: 16; 2026-02-17: 14 | 140 | 337 | 7700 | 18535 | 16500 |  |  | 16500
45 | Maple Solution | R4 | Taski | Can | 1850 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
46 | Maple Solution | Dry Mop Set 24 Blue Colur | Local Brand | Nos | 300 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
47 | Maple Solution | Rat Pad | Local Brand | Nos. | 80 | 9 |  | 9 | [31 empty] | 0 | 9 | 0 | 720 | 0 |  |  | 0
48 | Maple Solution | Cafeteria Caddy | Local Brand | Nos. | 350 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
49 | Maple Solution | Fether brush (Small) | Local Brand | Nos. | 35 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 35 | 0 |  |  | 0
50 | Maple Solution | Fether brush (Big) | Local Brand | Nos. | 45 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 180 | 0 |  |  | 0
51 | Maple Solution | TR 101 | Taski | Can (5 Ltr.) | 1150 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
52 | Maple Solution | Nylon Scrubber | Local Brand | Nos. | 5 | 6 |  | 6 | [31 empty] | 0 | 6 | 0 | 30 | 0 |  |  | 0
53 | Maple Solution | Empty Bottle Sanitizer | Local Brand | Nos. | 45 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 45 | 0 |  |  | 0
54 | Maple Solution | Yellow Spunch | Local Brand | Nos. | 8 | 5 |  | 5 | [31 empty] | 0 | 5 | 0 | 40 | 0 |  |  | 0
55 | Maple Solution | Green Garbage bag Big | Citi Clean | Pkt -10 NOS | 280 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 280 | 0 |  |  | 0
56 | Maple Solution | Taski D7 | Taski | Can (5 Ltr.) | 950 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
57 | Maple Solution | Micro Fiber Duster | Local Brand | Nos. | 65 | 3 |  | 3 | [31 empty] | 0 | 3 | 0 | 195 | 0 |  |  | 0
58 | Maple Solution | Wet Mop Stick | Local Brand | Nos. | 95 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
59 | Maple Solution | Dry Mop Clip 18 inch | Local Brand | Nos. | 175 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
60 | Maple Solution | Kictten wiper | Local Brand | Nos | 45 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 180 | 0 |  |  | 0
61 | Maple Solution | Toilet Brush round | Local Brand | Nos | 55 | 4 |  | 4 | [31 empty] | 0 | 4 | 0 | 220 | 0 |  |  | 0
62 | Maple Solution | Tissue roll big | Local Brand | Nos | 20 | 96 | 1008 | 1104 | 2026-02-02: 48; 2026-02-03: 48; 2026-02-04: 48; 2026-02-05: 48; 2026-02-06: 48; 2026-02-09: 48; 2026-02-10: 48; 2026-02-11: 48; 2026-02-12: 48; 2026-02-13: 48; 2026-02-16: 48; 2026-02-17: 48; 2026-02-18: 24 | 600 | 504 | 12000 | 10080 | 20160 |  |  | 20160
63 | Maple Solution | Hand Brush | Local Brand | Nos | 60 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 60 | 0 |  |  | 0
64 | Maple Solution | Acid Strong | Local Brand | 5Ltr | 350 | 1 | 1 | 2 | [31 empty] | 0 | 2 | 0 | 700 | 350 |  |  | 350
65 | Maple Solution | Urinal Screen | Local Brand | Nos | 120 | 4 | 10 | 14 | 2026-02-02: 1; 2026-02-16: 6 | 7 | 7 | 840 | 840 | 1200 |  |  | 1200
66 | Maple Solution | Colour Goli Kohinoor | Local Brand | Pkt | 40 | 5 | 5 | 10 | [31 empty] | 2 | 8 | 80 | 320 | 200 |  |  | 200 | bar: 2026-02-02; 2026-02-16
67 | Maple Solution | Himalaya Hand Sanitizer | Local Brand | Nos | 345 | 1 |  | 1 | [31 empty] | 0 | 1 | 0 | 345 | 0 |  |  | 0
68 | Maple Solution | Odonil | Local Brand | Nos | 38 | 10 |  | 10 | [31 empty] | 0 | 10 | 0 | 380 | 0 |  |  | 0
69 | Maple Solution | Lather tissue box | Local Brand | Nos | 435 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
70 | Maple Solution | Max M fold Tissue | Local Brand | Pkt | 70 | 18 |  | 18 | [31 empty] | 1 | 17 | 70 | 1190 | 0 |  |  | 0 | bar: 2026-02-06
71 | Maple Solution | Serving tray | Local Brand | Nos | 350 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
72 | Maple Solution | Stainless Steel Scrubber | Local Brand | Nos | 15 | 0 |  | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
73 | Maple Solution | Hand Sainitizer Gel | Local Brand | 5ltr | 650 | 1 | 1 | 2 | [31 empty] | 1 | 1 | 650 | 650 | 650 |  |  | 650 | bar: 2026-02-09
74 | Maple Solution | Surgical Mask | Local Brand | Nos. | 3.5 | 71 |  | 71 | 2026-02-04: 2 | 2 | 69 | 7 | 241.5 | 0 |  |  | 0
75 | Maple Solution |  |  |  |  | 0 | [33 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
|  | Total |  |  |  | 579 | 1405 | 1984 | 0 | 69 | 63 | 61 | 63 | 63 | 7 | 2 | 61 | 66 | 55 | 58 | 61 | 0 | 0 | 78 | 63 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 795 | 1189 | 23747 | 51402.5 | 43843 |  |  | 43843 | 0
9
0

## Food Consu
SOC Food Report February-2026
Days | Date | Rate | Datta Caters |  | Sai Caters |  | Auto | Auto | Auto | Auto
|  | V/N | Lunch Order | Lunch Count | Dinner Order | Dinner Count | Total Order | Total Count | Total Order | Total Amount
Sun | 2026-02-01 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Mon | 2026-02-02 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Tue | 2026-02-03 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Wed | 2026-02-04 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Thu | 2026-02-05 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Fri | 2026-02-06 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Sat | 2026-02-07 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Sun | 2026-02-08 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Mon | 2026-02-09 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Tue | 2026-02-10 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Wed | 2026-02-11 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Thu | 2026-02-12 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Fri | 2026-02-13 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Sat | 2026-02-14 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Sun | 2026-02-15 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Mon | 2026-02-16 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Tue | 2026-02-17 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Wed | 2026-02-18 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Thu | 2026-02-19 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Fri | 2026-02-20 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Sat | 2026-02-21 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Sun | 2026-02-22 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Mon | 2026-02-23 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Tue | 2026-02-24 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Wed | 2026-02-25 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Thu | 2026-02-26 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Fri | 2026-02-27 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Sat | 2026-02-28 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Sun | 2026-03-01 | 0 |  |  |  |  | 0 | 0 | 0 | 0
Mon | 2026-03-02 | 75 |  |  |  |  | 0 | 0 | 0 | 0
Tue | 2026-03-03 | 70 |  |  |  |  | 0 | 0 | 0 | 0
Grand Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Date = [Date, row above]+1

## Veebha Tea&Coffee
SOC Veebha Material Consumption for the Month of Feb 26
[12 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Brand | Units | Rate | Opening | Order | Mantri Order Taken | WTC Order Taken | Other Sources | Remark | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST
1 | Veebha | Tea Perimax |  | PKT. (750ML) | 160 | 82 | [5 empty] | 82 | [31 empty] | 0 | 82 | 0 | 13120 | 0 |  |  | 0
2 | Veebha | Coffee |  | PKT. (750ML) | 160 | 82 | [5 empty] | 82 | 2026-02-10: 5; 2026-02-13: 3 | 8 | 74 | 1280 | 11840 | 0 |  |  | 0
[44 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
[44 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
|  | Total |  |  |  | 164 | 0 |  |  |  |  | 164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8 | 156 | 1280 | 24960 | 0 | 0 | 0 | 0

## Sumant Tea&Coffee
SOC Sumant Material Consumption for the Month of Feb 26
[12 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Brand | Units | Rate | Opening | Order | Mantri Order Taken | WTC Order Taken | Other Sources | Remark | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST
1 |  | Coffee beans |  | Kg | 1350 | 3 | 6 |  |  |  |  | 9 | [31 empty] | 2 | 7 | 2700 | 9450 | 8100 |  |  | 8100 | bar: 2026-02-04; 2026-02-10
2 |  | Milk |  | 1ltr | 69.52 | 78 | 48 |  |  |  |  | 126 | 2026-02-02: 1; 2026-02-03: 1; 2026-02-04: 13; 2026-02-05: 1; 2026-02-06: 1; 2026-02-09: 1; 2026-02-10: 1; 2026-02-11: 1; 2026-02-12: 1; 2026-02-13: 1; 2026-02-16: 1 | 23 | 103 | 1598.96 | 7160.56 | 3336.96 |  |  | 3336.96
3 |  | Sugar Sachet White |  | Kg | 110 | 10 | 8 |  |  |  |  | 18 | [31 empty] | 2 | 16 | 220 | 1760 | 880 |  |  | 880 | bar: 2026-02-06; 2026-02-16
4 |  | Stirrer |  | Nos | 0.25 | 1000 | 2000 |  |  |  |  | 3000 | [31 empty] | 0 | 3000 | 0 | 750 | 500 |  |  | 500
7 | [11 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
8 | [11 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
|  | Total |  |  |  | 1091 | 2062 |  |  |  |  | 3153 | 0 | 1 | 1 | 14 | 1 | 2 | 0 | 0 | 1 | 2 | 1 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27 | 3126 | 4518.96 | 19120.56 | 12816.96 | 0 | 0 | 12816.96
Note on R7: Shahebaz Rashid Khan: KOS TO XTS 12 Ltr Milk

## Toner Consu
SOC Toner Material Consumption for the month of Feb 26
[12 empty] | Auto | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Auto | Auto | Auto | Auto | Auto |  |  | Auto
Sr. No. | Vendor | Particulars | Company | Units | Rate | Opening | Order | Mantri Order Taken | WTC Order Taken | Other Sources | Remark | Total Stock | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Usage Stock | Closing Stock | Usage Amount | Closing Amount | Order Amount | CGST | SGST | Order Amount With GST
1 |  | Compiteble Toner Cartridje 388A | KOS/I Tech/KRL | Nos | 400 | 2 | [5 empty] | 2 | [31 empty] | 2 | 0 | 800 | 0 | 0 |  |  | 0 | bar: 2026-02-09; 2026-02-12
2 |  | Compiteble Toner Cartridje 137a HP | ANF/KFT/KCOB | Nos | 1200 | 1 | 2 |  |  |  |  | 3 | [31 empty] | 2 | 1 | 2400 | 1200 | 2400 |  |  | 2400 | bar: 2026-02-05; 2026-02-16
3 |  | Compiteble Toner Cartridje 110A | Qualead | Nos | 1200 | 4 | [5 empty] | 4 | [31 empty] | 0 | 4 | 0 | 4800 | 0 |  |  | 0
4 |  | Laser Toner Black | K Aviation | Nos | 1200 | 1 | [5 empty] | 1 | [31 empty] | 1 | 0 | 1200 | 0 | 0 |  |  | 0 | bar: 2026-02-04
5 |  | Laser Toner Yellow | K Aviation | Nos | 1200 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
6 |  | Laser Toner Magenta | K Aviation | Nos | 1200 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
7 |  | Laser Toner Blue (Cyan) | K Aviation | Nos | 1200 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 |  |  | 0
8 |  | Epson 008 Black Ink | Qualead | Nos | 920 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
9 |  | Epson 008 Colour Ink C,M,Y | Qualead | Nos | 820 | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0
|  | Total |  |  |  | 8 | 2 |  |  |  |  | 10 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 4400 | 6000 | 2400 | 18 | 18 | 2400

## Water
SOC Water Report February-2026
Rate | 35 |  |  |  | Auto | Auto | Auto |  | Auto
Day | Date | Opening Balance | Delivery Jar | Collected Empty Jar | Total Stock | Total Usage | Total Amount | Emp Count | Per head Cost
Sun | 2026-02-01 | 10 | 0 | 0 | 10 | 0 | 0 | 300 | #DIV/0!
Mon | 2026-02-02 | 10 | 30 | 0 | 40 | 24 | 840 | 300 | 0.35714
Tue | 2026-02-03 | 16 | 18 | 43 | 34 | 17 | 595 | 300 | 0.5042
Wed | 2026-02-04 | 17 | 19 | 22 | 36 | 22 | 770 | 300 | 0.38961
Thu | 2026-02-05 | 14 | 18 | 18 | 32 | 24 | 840 | 300 | 0.35714
Fri | 2026-02-06 | 8 | 30 | 26 | 38 | 18 | 630 | 5 | 0.0079365
Sat | 2026-02-07 | 20 | 0 | 0 | 20 | 2 | 70 | 5 | 0.071429
Sun | 2026-02-08 | 18 | 10 | 0 | 28 | 3 | 105 | 300 | 2.8571
Mon | 2026-02-09 | 25 | 8 | 15 | 33 | 24 | 840 | 300 | 0.35714
Tue | 2026-02-10 | 9 | 30 | 35 | 39 | 19 | 665 | 300 | 0.45113
Wed | 2026-02-11 | 20 | 15 | 0 | 35 | 22 | 770 | 300 | 0.38961
Thu | 2026-02-12 | 13 | 16 | 36 | 29 | 19 | 665 | 300 | 0.45113
Fri | 2026-02-13 | 10 | 15 | 23 | 25 | 22 | 770 | 5 | 0.0064935
Sat | 2026-02-14 | 3 | 0 | 0 | 3 | 2 | 70 | 5 | 0.071429
Sun | 2026-02-15 | 1 | 0 | 0 | 1 | 1 | 35 | 300 | 8.5714
Mon | 2026-02-16 | 0 | 50 | 24 | 50 | 23 | 805 | 300 | 0.37267
Tue | 2026-02-17 | 27 | 0 | 23 | 27 | 24 | 840 | 300 | 0.35714
Wed | 2026-02-18 | 3 |  |  | 3 | 3 | 105 | 300 | 2.8571
Thu | 2026-02-19 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Fri | 2026-02-20 |  |  |  | 0 | 0 | 0 | 5 | #DIV/0!
Sat | 2026-02-21 |  |  |  | 0 | 0 | 0 | 5 | #DIV/0!
Sun | 2026-02-22 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Mon | 2026-02-23 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Tue | 2026-02-24 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Wed | 2026-02-25 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Thu | 2026-02-26 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Fri | 2026-02-27 |  |  |  | 0 | 0 | 0 | 5 | #DIV/0!
Sat | 2026-02-28 |  |  |  | 0 | 0 | 0 | 5 | #DIV/0!
Sun | 2026-03-01 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Mon | 2026-03-02 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
Tue | 2026-03-03 |  |  |  | 0 | 0 | 0 | 300 | #DIV/0!
|  | 224 | 259 | 265 | 483 | 269 | 9415
|  | Particulars | Qty | Amount |  | Water Report
|  | Delivery Jar | 259 | 9065 |  | Opening | Delivery Jar | USE | Closing
|  | CGST | 6% | 543.9 |  | 10 | 259 | 269 | 0
|  | SGST | 6% | 543.9
|  | Total |  | 10152.8
Formulas:
Date = [Date, row above]+1

## Gallant SG
GALLANT PVT LTD |  |  |  |  | Security Manpower Attendance for the Month of | [20 empty] | 2026-02-01
DAY | 24 |  |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
Sr No. | ID NO | Employee Name | Designation | Per day Amt | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Present | Absent | WO | HD | Total Day [P+HD] | OT Hours | OT Days | Total Working Days | TotalAmount | Remark
SOC
1 |  | Shivprasad Harijan | S/G | 789.1333 | [31 empty] | 15 | 0 | 3 | 0 | 15 | 0 | 0 | 15 | 11837 | bar: 2026-02-01 to 2026-02-18
2 |  | Mithilesh Singh | S/G | 789.1333 | [31 empty] | 15 | 0 | 3 | 0 | 15 | 0 | 0 | 15 | 11837 | bar: 2026-02-01 to 2026-02-18
3 |  | Gangadhar Gonekar | S/G | 789.1333 | [31 empty] | 14 | 0 | 3 | 0 | 14 | 0 | 0 | 14 | 11047.8667 | bar: 2026-02-01 to 2026-02-17
4 |  | Omkar Chavan | S/G | 789.1333 | [31 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 2026-02-01
5 |  |  | S/G | 789.1333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | S/G | 789.1333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | S/G | 789.1333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Total - |  | 0 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 2 | 3 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 1 | 9 | 0 | 44 | 0 | 0 | 44 | 34721.8667
|  | Designation | Present Days | Head Count | 2026-02-01: Per Day; 2026-02-04: Amounrt
|  | Security Guard | 44 | 3 | 2026-02-01: 789.1333; 2026-02-04: 34721.8667
|  | Total | 44 |  | 2026-02-04: 34721.8667
|  |  | Service Charge |  | 2026-02-04: 3472.1867
|  |  | Total + Service Charge |  | 2026-02-04: 38194.0533
|  |  | GST |  | 2026-02-04: 6874.9296
|  |  | Total + Service Charge + GST |  | 2026-02-04: 45068.9829

## OOPL SG
OOPL |  |  |  | Security Manpower Attendance for the Month of | [20 empty] | 2026-02-01
Day | 24 |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
Sr No. | Employee Name | Designation | Per day amt | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Present | Absent | WO | HD | Total Day [P+HD] | OT Hours | OT Days | Total Working Days | TotalAmount | Remark
SOC
1 | Manisha Gaikwad | L S/G | 800.8333 | [31 empty] | 15 | 0 | 3 | 0 | 15 | 0 | 0 | 15 | 12012.5 | bar: 2026-02-01 to 2026-02-18
2 | Diksha Ingole | L S/G | 800.8333 | [31 empty] | 14 | 0 | 3 | 0 | 14 | 0 | 0 | 14 | 11211.6667 | bar: 2026-02-01 to 2026-02-17
3 | Pratiksha Shendge | L S/G | 800.8333 | [31 empty] | 15 | 0 | 3 | 0 | 15 | 0 | 0 | 15 | 12012.5 | bar: 2026-02-01 to 2026-02-18
4 | Popi Mahanta | L S/G | 800.8333 | [31 empty] | 14 | 0 | 3 | 0 | 14 | 0 | 0 | 14 | 11211.6667 | bar: 2026-02-01 to 2026-02-17
5 | Bhagwan Tatikundalwar | S/G | 800.8333 | [31 empty] | 15 | 0 | 3 | 0 | 15 | 0 | 0 | 15 | 12012.5 | bar: 2026-02-01 to 2026-02-18
6 | Ram Machare | S/G | 800.8333 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: A; 2026-02-06: A; 2026-02-07: P; 2026-02-08: WO; 2026-02-09: P; 2026-02-10: P; 2026-02-11: P; 2026-02-12: P; 2026-02-13: P; 2026-02-14: WO; 2026-02-15: P; 2026-02-16: P; 2026-02-17: P | 12 | 2 | 3 | 0 | 12 | 0 | 0 | 12 | 9610
7 | Balaji Sonkamble | S/G | 800.8333 | [31 empty] | 14 | 0 | 3 | 0 | 14 | 0 | 0 | 14 | 11211.6667 | bar: 2026-02-01 to 2026-02-17
8 | Gopalkrushn Ankamwar | S/G | 800.8333 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: P; 2026-02-08: WO; 2026-02-09: A; 2026-02-10: A; 2026-02-11: A; 2026-02-12: A; 2026-02-13: P; 2026-02-14: P; 2026-02-15: WO; 2026-02-16: P; 2026-02-17: P; 2026-02-18: P | 11 | 4 | 3 | 0 | 11 | 0 | 0 | 11 | 8809.1667
9 |  | S/G | 800.8333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | S/G | 800.8333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | S/G | 800.8333 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 8 | 8 | 8 | 7 | 7 | 4 | 4 | 7 | 7 | 7 | 7 | 8 | 4 | 4 | 8 | 8 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 6 | 24 | 0 | 110 | 0 | 0 | 110 | 88091.6667 | 0
| Designation | Present Days | Head Count | 2026-02-01: Per Day; 2026-02-04: Amounrt
| Security Guard | 110 | 9 | 2026-02-01: 800.8333; 2026-02-04: 88091.6667
| deduction (Fine) |  |  | 2026-02-04: 0
| Total | 110 |  | 2026-02-04: 88091.6667
|  | Service Charge |  | 2026-02-04: 6166.4167
|  | Total + Service Charge |  | 2026-02-04: 94258.0833
|  | GST |  | 2026-02-04: 16966.455
|  | Total + Service Charge + GST |  | 2026-02-04: 111224.5383

## Imperial HK
SOC |  |  |  | Housekeeping Manpower Attendance for the month of | [21 empty] | 2026-02-01 | [8 empty] | IMPERIAL SERVICES
DAY | 24 |  |  | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
Sr No | Employee Name | Designation | Per Day | 2026-02-01 | 2026-02-02 | 2026-02-03 | 2026-02-04 | 2026-02-05 | 2026-02-06 | 2026-02-07 | 2026-02-08 | 2026-02-09 | 2026-02-10 | 2026-02-11 | 2026-02-12 | 2026-02-13 | 2026-02-14 | 2026-02-15 | 2026-02-16 | 2026-02-17 | 2026-02-18 | 2026-02-19 | 2026-02-20 | 2026-02-21 | 2026-02-22 | 2026-02-23 | 2026-02-24 | 2026-02-25 | 2026-02-26 | 2026-02-27 | 2026-02-28 | 2026-03-01 | 2026-03-02 | 2026-03-03 | Present | Absent | WO | HD | Total Day [P+W/O+HD] | OT Hours | OT Days | Total Working Days | Total Amount | Remark
1 | Adesh Nikam | Pantry Boy | 858.2237 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: WO; 2026-02-08: P; 2026-02-09: P3; 2026-02-10: P2; 2026-02-11: P2; 2026-02-12: P2; 2026-02-13: P6; 2026-02-14: P; 2026-02-15: WO; 2026-02-16: P7; 2026-02-17: P4; 2026-02-18: P | 15 | 0 | 3 | 0 | 15 | 26 | 3.25 | 18.25 | 15662.5834
2 | Bapu Waghmare | Pantry Boy | 774.875 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: P; 2026-02-08: P; 2026-02-09: P2; 2026-02-10: P2; 2026-02-11: P; 2026-02-12: P; 2026-02-13: A; 2026-02-14: P; 2026-02-15: WO; 2026-02-16: A; 2026-02-17: A | 12 | 3 | 2 | 0 | 12 | 4 | 0.5 | 12.5 | 9685.9375
3 | Madhav Tekkam | Hk Boy | 722.3017 | 2026-02-01: P; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P6; 2026-02-05: P6; 2026-02-06: P6; 2026-02-07: P; 2026-02-08: P; 2026-02-09: P6; 2026-02-10: P6; 2026-02-11: P6; 2026-02-12: P6; 2026-02-13: P6; 2026-02-14: P; 2026-02-15: P; 2026-02-16: P4; 2026-02-17: P; 2026-02-18: P | 18 | 0 | 0 | 0 | 18 | 52 | 6.5 | 24.5 | 17696.3908
4 | Bhayyasaheb Sonkamble | Hk Boy | 722.3017 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: A; 2026-02-05: A; 2026-02-06: A; 2026-02-07: A; 2026-02-08: A; 2026-02-09: A; 2026-02-10: A; 2026-02-11: A; 2026-02-12: A; 2026-02-13: A; 2026-02-14: A; 2026-02-15: A; 2026-02-16: P; 2026-02-17: P | 4 | 12 | 1 | 0 | 4 | 0 | 0 | 4 | 2889.2067
5 | Laxmi Kardak | CM | 722.3017 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: P; 2026-02-08: P; 2026-02-09: P; 2026-02-10: P; 2026-02-11: P; 2026-02-12: P; 2026-02-13: P; 2026-02-14: A; 2026-02-15: A; 2026-02-16: A; 2026-02-17: A | 12 | 4 | 1 | 0 | 12 | 0 | 0 | 12 | 8667.62
6 | Saroj Shukla | C/M | 722.3017 | [31 empty] | 15 | 0 | 2 | 0 | 15 | 0 | 0 | 15 | 10834.525 | bar: 2026-02-01 to 2026-02-17
7 | Sangeeta Vishwakarma | C/M | 722.3017 | [31 empty] | 16 | 0 | 2 | 0 | 16 | 0 | 0 | 16 | 11556.8267 | bar: 2026-02-01 to 2026-02-18
8 | Kaushalya Pawar | C/M | 722.3017 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: A; 2026-02-08: A; 2026-02-09: P; 2026-02-10: P; 2026-02-11: P; 2026-02-12: P; 2026-02-13: P; 2026-02-14: P; 2026-02-15: WO; 2026-02-16: P; 2026-02-17: P | 13 | 2 | 2 | 0 | 13 | 0 | 0 | 13 | 9389.9217
9 | Gaurav Dake | Hk Boy | 722.3017 | 2026-02-01: WO; 2026-02-02: P; 2026-02-03: P; 2026-02-04: P; 2026-02-05: P; 2026-02-06: P; 2026-02-07: WO; 2026-02-08: P; 2026-02-09: P; 2026-02-10: P; 2026-02-11: A; 2026-02-12: A; 2026-02-13: A; 2026-02-14: A; 2026-02-15: A; 2026-02-16: P; 2026-02-17: P | 10 | 5 | 2 | 0 | 10 | 0 | 0 | 10 | 7223.0167
10 | Ravindra Kale | Hk Boy | 722.3017 | [31 empty] | 14 | 0 | 3 | 0 | 14 | 0 | 0 | 14 | 10112.2233 | bar: 2026-02-01 to 2026-02-17
11 | Hanumant | Hk Boy | 722.3017 | 2026-02-01: WO; 2026-02-02: A; 2026-02-03: A; 2026-02-04: A; 2026-02-05: P; 2026-02-06: P; 2026-02-07: A; 2026-02-08: A; 2026-02-09: A; 2026-02-10: A; 2026-02-11: A; 2026-02-12: A; 2026-02-13: A; 2026-02-14: P; 2026-02-15: P; 2026-02-16: A; 2026-02-17: P | 5 | 11 | 1 | 0 | 5 | 0 | 0 | 5 | 3611.5083
12 | Rushikesh Khandagale | Hk Boy | 722.3017 | [31 empty] | 2 | 15 | 0 | 0 | 2 | 0 | 0 | 2 | 1444.6033 | bar: 2026-02-01 to 2026-02-17
13 | Ashok Singh | Hk Boy | 722.3017 | [31 empty] | 3 | 14 | 0 | 0 | 3 | 0 | 0 | 3 | 2166.905 | bar: 2026-02-01 to 2026-02-17
14 | Rajendra Jadhav | Hk Boy | 722.3017 | [31 empty] | 1 | 16 | 0 | 0 | 1 | 0 | 0 | 1 | 722.3017 | bar: 2026-02-01 to 2026-02-17
15 | Jagdev | Hk Boy | 722.3017 | [31 empty] | 1 | 16 | 0 | 0 | 1 | 0 | 0 | 1 | 722.3017 | bar: 2026-02-01 to 2026-02-17
16 | Sahil Dake | Hk Boy | 722.3017 | [31 empty] | 1 | 16 | 0 | 0 | 1 | 0 | 0 | 1 | 722.3017 | bar: 2026-02-01 to 2026-02-17
17 |  |  | 722.3017 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | 722.3017 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | 722.3017 | [31 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 1 | 10 | 10 | 8 | 9 | 9 | 6 | 8 | 7 | 6 | 7 | 8 | 7 | 6 | 5 | 7.5 | 9.5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 142 | 114 | 19 | 0 | 142 | 82 | 10.25 | 152.25 | 113108.1734
| Designation | Present Days | Head count | 2026-02-01: Per day; 2026-02-04: Amount
| PB1 | 18.25 | 1 | 2026-02-01: 858.2237; 2026-02-04: 15662.5834
| PB | 12.5 | 1 | 2026-02-01: 774.875; 2026-02-04: 9685.9375
| Hk Boy | 40.5 | 5 | 2026-02-01: 722.3017; 2026-02-04: 29253.2175
| CM | 44 | 4 | 2026-02-01: 722.3017; 2026-02-04: 31781.2733
| Total | 115.25 | 11 | 2026-02-04: 86383.0118
|  | Service Charge |  | 2026-02-04: 12957.4518
|  | Total + Service Charge |  | 2026-02-04: 99340.4635
|  | GST |  | 2026-02-04: 8940.6417
|  | GST |  | 2026-02-04: 8940.6417
|  | Total + Service Charge + GST |  | 2026-02-04: 117221.747
Note on M4: Shahebaz Rashid Khan: Going Kings House
Note on N4: Shahebaz Rashid Khan: Going Kings House
Note on O4: Shahebaz Rashid Khan: Going Kings House
Note on P4: Shahebaz Rashid Khan: Going Kings House
Note on Q4: Shahebaz Rashid Khan: Going Kings House
Note on T4: Shahebaz Rashid Khan: Going Kings House
Note on U4: Shahebaz Rashid Khan: Going Kings House
Note on M5: Shahebaz Rashid Khan: Boss in Office

## New Meter (hidden)
Mantri Office New DG Meter Reading- May - 2024 | [9 empty] | Mantri Office New EB Meter Reading- May - 2024
Date | Time | DG KWH |  |  | DG KVAH |  |  |  |  | DATE | Time | EB KWH |  |  | Total Unit |  |  | EB KVAH |  |  | Total Unit
|  | Opening | Closening | Cons | Opening | Closening | Cons | Rate | Amount |  |  | Opening | Closening | CONS |  | Rate | Amount | Opening | Closening | CONS |  | Rate | Amount
2024-05-14 | 0:00 | 0 | 1 | 40 | 0 | 1 | 40 | 40 | 40 | 2024-05-14 | 0:00 | 0 | 22 | 880 | 22 | 40 | 880 | 0 | 23 | 920 | 23 | 40 | 920
2024-05-15 | 0:00 | 1 | 1 | 0 | 1 | 1 | 0 | 40 | 0 | 2024-05-15 | 0:00 | 22 | 31 | 360 | 9 | 40 | 360 | 23 | 33 | 400 | 10 | 40 | 400
2024-05-16 | 0:00 | 1 | 1 | 0 | 1 | 1 | 0 | 40 | 0 | 2024-05-16 | 0:00 | 31 | 40 | 360 | 9 | 40 | 360 | 33 | 42 | 360 | 9 | 40 | 360
2024-05-17 | 0:00 | 1 | 1 | 0 | 1 | 1 | 0 | 40 | 0 | 2024-05-17 | 0:00 | 40 | 49 | 360 | 9 | 40 | 360 | 42 | 52 | 400 | 10 | 40 | 400
2024-05-18 | 0:00 | 1 | 1 | 0 | 1 | 1 | 0 | 40 | 0 | 2024-05-18 | 0:00 | 49 | 57 | 320 | 8 | 40 | 320 | 52 | 60 | 320 | 8 | 40 | 320
2024-05-19 | 0:00 | 1 | [7 empty] | 2024-05-19 | 0:00 | 57 |  | -2280 | -57 | 40 | -2280 | 60 |  | -2400 | -60 | 40 | -2400
[22 empty] | 40 | 0